# Using the Moody Diagram

The head loss due to friction of a pipe is determined by using the Darcy-Weisbach equation

Where:		h = head loss

f = friction factor

L = length of pipe

v = velocity of fluid trough pipe

D = Diameter of pipe

g = acceleration due to gravity

The Moody diagram gives the friction factor of a pipe.  The factor can be determined by its Reynolds number and the Relative roughness of the Pipe.

The rougher the pipe the more turbulent the flow is through that pipe.  The relative roughness of a pipe is given by

Where: 	e = absolute roughness

D = diameter of pipe

The Reynolds number equation was determined by passing dye through a fluid.  At low velocities the dye passed in layers and at high velocities the dye diffused into the fluid.  This shows that at high velocities the flow is more turbulent than at low velocities.

The Reynolds equation is:

Where:		R = Reynolds number

D = diameter

v = velocity

ζ = kenimatic viscosity of fluid

By looking at the Moody diagram it shows that the right top corner is completely turbulent and the left top is laminar (smooth flow).

To determine the frictional factor, find the relative roughness value for the pipe on the right.  Then locate the pipes Reynolds number on the bottom.  Follow the relative roughness curve to where it crosses the determined Reynolds number.  Now at that point project a straight line to the left,  the number determined on the left is the frictional factor.

The following books were used

Finnemore, E. John, Joseph B. Franzini.  Fluid Mechanics: with Engineering Applications. Tenth Edition

(The chart was taken from this book)

Vennard, John K.  Elementary Fluid Mechanics. Third  edition

Page by Andy Ebendick